## requirements
requirement_id | requirement | high_level_goals
MD-FUNC-001 | The app SHALL display real-time Heart Rate (BPM) data received from the sensor within 1 second of transmission. | Continuous Patient Monitoring
MD-FUNC-002 | The app SHALL display Oxygen Saturation (SpO2) percentage data with an accuracy of +/- 2% as reported by the sensor. | Continuous Patient Monitoring
MD-FUNC-003 | The app SHALL update the Respiratory Rate (RPM) visualization every 5 seconds based on incoming telemetry. | Continuous Patient Monitoring
MD-FUNC-004 | The app SHALL provide a 'Patient Dashboard' view summarizing all active vital signs for the assigned clinician. | Clinician Workflow Efficiency
MD-FUNC-005 | The app SHALL allow clinicians to manually enter Blood Pressure readings (Systolic/Diastolic) when a manual cuff is used. | Data Integrity
MD-SAFE-001 | The app SHALL trigger a High Priority Alert (Audible > 70dB and flashing red Visual) within 2 seconds if Heart Rate exceeds the High Threshold. | Patient Safety & Rapid Response
MD-SAFE-002 | The app SHALL trigger a Medium Priority Alert (Audible and yellow Visual) if the sensor battery level falls below 15%. | Risk Management
MD-SAFE-003 | The app SHALL notify the clinician via a 'Loss of Signal' critical alert if data is not received from the sensor for > 10 seconds. | Patient Safety & Connectivity
MD-SAFE-004 | The app SHALL require an explicit clinician 'Acknowledge' action to silence High Priority Alerts. | Clinical Accountability
MD-SAFE-005 | The app SHALL log all threshold breaches and clinician acknowledgments with a millisecond-accurate timestamp to the audit trail. | Regulatory Compliance (IEC 62304)
MD-PERF-001 | The app SHALL maintain a UI frame rate of at least 30 FPS during simultaneous monitoring of up to 4 vital sign waveforms. | System Reliability
MD-PERF-002 | Alert delivery from the cloud gateway to the mobile device notification center SHALL occur in < 500ms under 4G/5G/Wi-Fi conditions. | Critical Alert Latency
MD-PERF-003 | The app SHALL support background operation, ensuring alerts are delivered even when the device is locked or the app is not in focus. | Continuous Monitoring Reliability
MD-SEC-001 | The app SHALL encrypt all Patient Identifiable Information (PII) and Protected Health Information (PHI) at rest using AES-256. | Data Privacy & HIPAA Compliance
MD-SEC-002 | The app SHALL require Multi-Factor Authentication (MFA) for clinician login using Biometrics or Hardware Security Keys. | Access Control
MD-SEC-003 | The app SHALL automatically lock the session after 2 minutes of clinician inactivity on the patient monitoring screen. | Security Compliance
MD-SEC-004 | All telemetry data transmitted between the sensor and the app SHALL be encrypted via TLS 1.3. | Cybersecurity (ISO 21434)
MD-USER-001 | The app SHALL follow WCAG 2.1 Level AA standards for color contrast to ensure readability in low-light hospital environments. | Usability
MD-USER-002 | The app SHALL provide a Bluetooth LE pairing wizard with signal strength indicators to assist clinicians in sensor placement. | Ease of Use
MD-USER-003 | The app SHALL allow clinicians to toggle between Dark Mode and Light Mode based on clinical environment needs. | Usability
MD-INT-001 | The app SHALL synchronize patient vital sign history with the Hospital Electronic Health Record (EHR) via HL7 FHIR R4 API. | Interoperability
MD-INT-002 | The app SHALL support 'Ward Mode' allowing a single tablet to display status for up to 10 patients simultaneously. | Scalability
MD-INT-003 | The app SHALL function in 'Offline Mode' by caching up to 24 hours of data if the local Wi-Fi connection is lost. | Fault Tolerance

## steps
documentKey | description | setup | all_steps | all_expectedResults | testcases
TC-MD-001 | Verify real-time HR display updates within 1s. | Sensor simulator connected; Heart rate set to 75 BPM. | 1. Send HR packet from simulator. 2. Observe app UI timestamp. | 1. App UI shows 75 BPM. 2. Delay between packet and display is < 1s. | Test Case ID: TC-MD-001 Test Case Objective: Verify real-time HR display updates within 1s. Prerequisites: Sensor simulator connected; Heart rate set to 75 BPM. Steps: 1. Send HR packet from simulator. 2. Observe app UI timestamp. ExpectedResults: 1. App UI shows 75 BPM. 2. Delay between packet and display is < 1s.
TC-MD-002 | Verify HR display handles erratic sensor data. | Sensor simulator connected. | 1. Send 0 BPM. 2. Send 300 BPM (invalid high). 3. Send NULL. | 1. App displays '---' for 0 or invalid. 2. App triggers technical alert for data anomaly. | Test Case ID: TC-MD-002 Test Case Objective: Verify HR display handles erratic sensor data. Prerequisites: Sensor simulator connected. Steps: 1. Send 0 BPM. 2. Send 300 BPM (invalid high). 3. Send NULL. ExpectedResults: 1. App displays '---' for 0 or invalid. 2. App triggers technical alert for data anomaly.
TC-MD-003 | Verify High Priority Alert on HR threshold breach. | Patient HR threshold set to 120 BPM; HR currently 80 BPM. | 1. Increase simulator HR to 125 BPM. 2. Measure time to alert. | 1. Flashing Red UI triggered. 2. High-pitch audible alarm starts. 3. Latency < 2s. | Test Case ID: TC-MD-003 Test Case Objective: Verify High Priority Alert on HR threshold breach. Prerequisites: Patient HR threshold set to 120 BPM; HR currently 80 BPM. Steps: 1. Increase simulator HR to 125 BPM. 2. Measure time to alert. ExpectedResults: 1. Flashing Red UI triggered. 2. High-pitch audible alarm starts. 3. Latency < 2s.
TC-MD-004 | Verify High Priority Alert volume meets 70dB spec. | Sound meter calibrated; App in monitoring mode. | 1. Trigger alert. 2. Measure decibels at 1 meter. | 1. Sound level is >= 70dB. | Test Case ID: TC-MD-004 Test Case Objective: Verify High Priority Alert volume meets 70dB spec. Prerequisites: Sound meter calibrated; App in monitoring mode. Steps: 1. Trigger alert. 2. Measure decibels at 1 meter. ExpectedResults: 1. Sound level is >= 70dB.
TC-MD-005 | Verify Loss of Signal alert triggers after 10s. | Active sensor connection. | 1. Power off sensor. 2. Observe timer. | 1. At T+10s, 'Loss of Signal' critical alert appears. 2. Haptic feedback triggered. | Test Case ID: TC-MD-005 Test Case Objective: Verify Loss of Signal alert triggers after 10s. Prerequisites: Active sensor connection. Steps: 1. Power off sensor. 2. Observe timer. ExpectedResults: 1. At T+10s, 'Loss of Signal' critical alert appears. 2. Haptic feedback triggered.
TC-MD-006 | Verify PHI encryption at rest. | Rooted/Jailbroken test device with app data. | 1. Capture app SQLite database. 2. Attempt to read patient_name field. | 1. Data is obfuscated/encrypted. 2. Hex editor shows AES-256 pattern, no plain text. | Test Case ID: TC-MD-006 Test Case Objective: Verify PHI encryption at rest. Prerequisites: Rooted/Jailbroken test device with app data. Steps: 1. Capture app SQLite database. 2. Attempt to read patient_name field. ExpectedResults: 1. Data is obfuscated/encrypted. 2. Hex editor shows AES-256 pattern, no plain text.
TC-MD-007 | Verify background alert delivery. | App running in background; Device locked. | 1. Trigger High HR alert from simulator. | 1. System notification appears on lock screen. 2. Critical Alert bypasses Do Not Disturb (if configured). | Test Case ID: TC-MD-007 Test Case Objective: Verify background alert delivery. Prerequisites: App running in background; Device locked. Steps: 1. Trigger High HR alert from simulator. ExpectedResults: 1. System notification appears on lock screen. 2. Critical Alert bypasses Do Not Disturb (if configured).
TC-MD-008 | Verify FHIR R4 API synchronization. | Sandbox EHR environment connected. | 1. Complete monitoring session. 2. Query EHR Observation endpoint. | 1. Vital signs present in EHR. 2. Correct patient UUID and timestamp recorded. | Test Case ID: TC-MD-008 Test Case Objective: Verify FHIR R4 API synchronization. Prerequisites: Sandbox EHR environment connected. Steps: 1. Complete monitoring session. 2. Query EHR Observation endpoint. ExpectedResults: 1. Vital signs present in EHR. 2. Correct patient UUID and timestamp recorded.
TC-MD-100 | To verify that The app SHALL display Oxygen Saturation (SpO2) per... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-100 Test Case Objective: To verify that The app SHALL display Oxygen Saturation (SpO2) per... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-101 | Verify MD-FUNC-002 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-101 Test Case Objective: Verify MD-FUNC-002 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-102 | To verify that The app SHALL update the Respiratory Rate (RPM) vi... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-102 Test Case Objective: To verify that The app SHALL update the Respiratory Rate (RPM) vi... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-103 | Verify MD-FUNC-003 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-103 Test Case Objective: Verify MD-FUNC-003 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-104 | To verify that The app SHALL provide a 'Patient Dashboard' view s... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-104 Test Case Objective: To verify that The app SHALL provide a 'Patient Dashboard' view s... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-105 | Verify MD-FUNC-004 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-105 Test Case Objective: Verify MD-FUNC-004 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-106 | To verify that The app SHALL allow clinicians to manually enter B... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-106 Test Case Objective: To verify that The app SHALL allow clinicians to manually enter B... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-107 | Verify MD-FUNC-005 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-107 Test Case Objective: Verify MD-FUNC-005 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-108 | To verify that The app SHALL trigger a Medium Priority Alert (Aud... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-108 Test Case Objective: To verify that The app SHALL trigger a Medium Priority Alert (Aud... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-109 | Verify MD-SAFE-002 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-109 Test Case Objective: Verify MD-SAFE-002 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-110 | To verify that The app SHALL require an explicit clinician 'Ackno... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-110 Test Case Objective: To verify that The app SHALL require an explicit clinician 'Ackno... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-111 | Verify MD-SAFE-004 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-111 Test Case Objective: Verify MD-SAFE-004 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-112 | To verify that The app SHALL log all threshold breaches and clini... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-112 Test Case Objective: To verify that The app SHALL log all threshold breaches and clini... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-113 | Verify MD-SAFE-005 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-113 Test Case Objective: Verify MD-SAFE-005 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-114 | To verify that The app SHALL maintain a UI frame rate of at least... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-114 Test Case Objective: To verify that The app SHALL maintain a UI frame rate of at least... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-115 | Verify MD-PERF-001 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-115 Test Case Objective: Verify MD-PERF-001 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-116 | To verify that Alert delivery from the cloud gateway to the mobil... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-116 Test Case Objective: To verify that Alert delivery from the cloud gateway to the mobil... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-117 | Verify MD-PERF-002 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-117 Test Case Objective: Verify MD-PERF-002 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-118 | To verify that The app SHALL require Multi-Factor Authentication ... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-118 Test Case Objective: To verify that The app SHALL require Multi-Factor Authentication ... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-119 | Verify MD-SEC-002 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-119 Test Case Objective: Verify MD-SEC-002 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-120 | To verify that The app SHALL automatically lock the session after... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-120 Test Case Objective: To verify that The app SHALL automatically lock the session after... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-121 | Verify MD-SEC-003 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-121 Test Case Objective: Verify MD-SEC-003 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-122 | To verify that All telemetry data transmitted between the sensor ... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-122 Test Case Objective: To verify that All telemetry data transmitted between the sensor ... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-123 | Verify MD-SEC-004 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-123 Test Case Objective: Verify MD-SEC-004 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-124 | To verify that The app SHALL follow WCAG 2.1 Level AA standards f... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-124 Test Case Objective: To verify that The app SHALL follow WCAG 2.1 Level AA standards f... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-125 | Verify MD-USER-001 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-125 Test Case Objective: Verify MD-USER-001 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-126 | To verify that The app SHALL provide a Bluetooth LE pairing wizar... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-126 Test Case Objective: To verify that The app SHALL provide a Bluetooth LE pairing wizar... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-127 | Verify MD-USER-002 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-127 Test Case Objective: Verify MD-USER-002 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-128 | To verify that The app SHALL allow clinicians to toggle between D... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-128 Test Case Objective: To verify that The app SHALL allow clinicians to toggle between D... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-129 | Verify MD-USER-003 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-129 Test Case Objective: Verify MD-USER-003 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-130 | To verify that The app SHALL support 'Ward Mode' allowing a singl... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-130 Test Case Objective: To verify that The app SHALL support 'Ward Mode' allowing a singl... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-131 | Verify MD-INT-002 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-131 Test Case Objective: Verify MD-INT-002 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.
TC-MD-132 | To verify that The app SHALL function in 'Offline Mode' by cachin... | System in normal operating state. | 1. Perform standard operation. 2. Verify outcome. | 1. System behaves as specified in requirement. | Test Case ID: TC-MD-132 Test Case Objective: To verify that The app SHALL function in 'Offline Mode' by cachin... Prerequisites: System in normal operating state. Steps: 1. Perform standard operation. 2. Verify outcome. ExpectedResults: 1. System behaves as specified in requirement.
TC-MD-133 | Verify MD-INT-003 resilience under error conditions. | System in restricted state. | 1. Provide invalid input or interrupt process. 2. Observe error handling. | 1. System handles error gracefully without crashing. | Test Case ID: TC-MD-133 Test Case Objective: Verify MD-INT-003 resilience under error conditions. Prerequisites: System in restricted state. Steps: 1. Provide invalid input or interrupt process. 2. Observe error handling. ExpectedResults: 1. System handles error gracefully without crashing.

## traces
fromItem | fromItem_documentKey | toItem | toItem_documentKey
9100000 | MD-FUNC-001 | 9200001 | TC-MD-001
9100000 | MD-FUNC-001 | 9200002 | TC-MD-002
9100005 | MD-SAFE-001 | 9200003 | TC-MD-003
9100005 | MD-SAFE-001 | 9200004 | TC-MD-004
9100007 | MD-SAFE-003 | 9200005 | TC-MD-005
9100013 | MD-SEC-001 | 9200006 | TC-MD-006
9100012 | MD-PERF-003 | 9200007 | TC-MD-007
9100020 | MD-INT-001 | 9200008 | TC-MD-008
9100001 | MD-FUNC-002 | 9200009 | TC-MD-100
9100001 | MD-FUNC-002 | 9200010 | TC-MD-101
9100002 | MD-FUNC-003 | 9200011 | TC-MD-102
9100002 | MD-FUNC-003 | 9200012 | TC-MD-103
9100003 | MD-FUNC-004 | 9200013 | TC-MD-104
9100003 | MD-FUNC-004 | 9200014 | TC-MD-105
9100004 | MD-FUNC-005 | 9200015 | TC-MD-106
9100004 | MD-FUNC-005 | 9200016 | TC-MD-107
9100006 | MD-SAFE-002 | 9200017 | TC-MD-108
9100006 | MD-SAFE-002 | 9200018 | TC-MD-109
9100008 | MD-SAFE-004 | 9200019 | TC-MD-110
9100008 | MD-SAFE-004 | 9200020 | TC-MD-111
9100009 | MD-SAFE-005 | 9200021 | TC-MD-112
9100009 | MD-SAFE-005 | 9200022 | TC-MD-113
9100010 | MD-PERF-001 | 9200023 | TC-MD-114
9100010 | MD-PERF-001 | 9200024 | TC-MD-115
9100011 | MD-PERF-002 | 9200025 | TC-MD-116
9100011 | MD-PERF-002 | 9200026 | TC-MD-117
9100014 | MD-SEC-002 | 9200027 | TC-MD-118
9100014 | MD-SEC-002 | 9200028 | TC-MD-119
9100015 | MD-SEC-003 | 9200029 | TC-MD-120
9100015 | MD-SEC-003 | 9200030 | TC-MD-121
9100016 | MD-SEC-004 | 9200031 | TC-MD-122
9100016 | MD-SEC-004 | 9200032 | TC-MD-123
9100017 | MD-USER-001 | 9200033 | TC-MD-124
9100017 | MD-USER-001 | 9200034 | TC-MD-125
9100018 | MD-USER-002 | 9200035 | TC-MD-126
9100018 | MD-USER-002 | 9200036 | TC-MD-127
9100019 | MD-USER-003 | 9200037 | TC-MD-128
9100019 | MD-USER-003 | 9200038 | TC-MD-129
9100021 | MD-INT-002 | 9200039 | TC-MD-130
9100021 | MD-INT-002 | 9200040 | TC-MD-131
9100022 | MD-INT-003 | 9200041 | TC-MD-132
9100022 | MD-INT-003 | 9200042 | TC-MD-133